###########  CONTENTS OF "CRYOLIST.DAT"   update 1997.12.14. ###########

1st-3rd LINE (ORDER IS ARBITRARY)

# WEATHER  CLEAR    <-- SELECT FROM CLEAR, FINE, HAZY or CLOUDY

# SEEING   4.0      <-- REAL NUMBER OF SEEING SIZE IN ARCSECOND

# OBSERVER AHOAHO   <-- OBSERVER'S NAME

BELOW 4th LINE

column  item

1       FILE NAME

2       OBJECT NAME

3       DATA TYPE   (1:OBJ 2:DAR 3:COM 4:BIAS 5:FLA 6:NEAR_SKY 0:NOT USE)

4       POSITION ANGLE of HALF-WAVE PLATE  (degree)

5       DIAPHRAGM   (1:1HOLE  2:2HOLES lower  3:2HOLES upper)

(4:CMT010-2HOLES lower  5:CMT010-2HOLES upper)

(6:CMT020-2HOLES lower  7:CMT020-2HOLES upper)

(8:LONGSLIT004)

6       SLIT WIDTH  (mm)

7       TELESCOPE CLUMP  (1:WEST 2:EAST)

8       FILTER  (0:=NO_FILTER 1:=GLAN-TALOR)